# Standards Index

Standards a digital nuclear safety I&C project is normally measured against.

## Tier 1 — primary standards for safety I&C

### IEC (international, dominant framework outside the United States)

| ID | Subject |
| --- | --- |
| IEC 61513 | I&C systems important to safety — general requirements |
| IEC 61226 | Categorisation of functions (A, B, C) |
| IEC 60880 | Software for Category A safety functions |
| IEC 62138 | Software for Categories B and C |
| IEC 62566 | Development of HDL-programmed devices for Category A |
| IEC 60987 | Hardware design requirements for computer-based systems |
| IEC 62645 | Cybersecurity requirements for I&C systems |
| IEC 62859 | Coordination of safety and security |

### IEEE (United States)

| ID | Subject |
| --- | --- |
| IEEE 603 | Criteria for safety systems for nuclear power generating stations |
| IEEE 7-4.3.2 | Criteria for digital computers in safety systems |
| IEEE 384 | Independence of Class 1E equipment and circuits |
| IEEE 308 | Criteria for Class 1E power systems |
| IEEE 379 | Single-failure criterion |

### IAEA

| ID | Subject |
| --- | --- |
| IAEA SSG-39 | Design of I&C systems for nuclear power plants (safety guide) |
| IAEA SSG-30 | Safety classification of structures, systems and components |
| IAEA NSS-17 (rev.1) | Computer security techniques for nuclear facilities |
| IAEA NSS-33-T | Computer security of I&C systems at nuclear facilities |

### US NRC regulatory documents (public)

Retrievable from the NRC public website / ADAMS by document ID.

| ID | Subject |
| --- | --- |
| 10 CFR 50, Appendix A — GDC | General Design Criteria, in particular GDC 21–24 for protection systems |
| 10 CFR 50.55a(h) | Mandates IEEE 603 / 7-4.3.2 |
| 10 CFR 50.46 + Appendix K | ECCS performance criteria |
| 10 CFR 73.54 | Cyber security for nuclear plants |
| Regulatory Guide 1.152 | Computer security for digital safety systems (endorses IEEE 7-4.3.2) |
| Regulatory Guide 1.168 | Verification, validation, reviews, and audits of safety-system software |
| Regulatory Guide 1.169 | Configuration management |
| Regulatory Guide 1.170 | Software test documentation |
| Regulatory Guide 1.171 | Software unit testing |
| Regulatory Guide 1.172 | Software requirements specifications |
| Regulatory Guide 1.173 | Software lifecycle processes |
| NUREG-0800 SRP Chapter 7 | Standard Review Plan for I&C |
| NUREG-0800 SRP Chapter 6.3 | Standard Review Plan for ECCS |
| BTP 7-14 | Branch Technical Position on software review |
| BTP 7-19 | Defence-in-depth and diversity |

## Tier 2 — supporting and adjacent standards

- IEC 61508 — generic functional safety; many nuclear platforms argue compliance via 61508 SIL before mapping to 61513.

- ISO/IEC/IEEE 12207 — software lifecycle processes.

- ISO/IEC/IEEE 15288 — system lifecycle processes.

- ISO/IEC 27001, IEC 27019 — information security management; 27019 is utility-specific.

- MISRA C / MISRA C++ — coding standards routinely enforced for embedded C/C++ in Class 1E codebases.

- DO-178C — aviation software; objectives frequently cited as reference rigor in nuclear contexts.